## ami_meter
ami_meter: Synthetic smart meter (one row per site_id, device_id, circuit_id, t_stamp)
Column | Type | Derivation | Unit
site_id | BIGINT | Keys. device_id groups the phases belonging to one physical meter. Grain is one row per (site_id, device_id, circuit_id, t_stamp), every kept ac_load_net circuit, per phase. PV circuits are deliberately excluded: this table simulates what a real smart meter reports, and a real meter doesn't separately expose PV generation.
device_id | BIGINT | device_id groups the phases belonging to one physical meter.
circuit_id | BIGINT
t_stamp | TIMESTAMP / INT | UTC.
year | INT | UTC.
month | INT | UTC.
V | DOUBLE | Raw per-circuit voltage. | V
P_kw | DOUBLE | Raw power. Deliberately NOT polarity-corrected. ac_load_net is already net-of-solar as landed, and this table is meant to show what a real meter would report, sign quirks included. | kW
Q_kvar | DOUBLE | Raw reactive power. No raw instantaneous field exists in ts for this. It is always derived once, in the interval table, from energy_reactive. | kvar
S_kva | DOUBLE | sqrt(P_kw² + Q_kvar²). | kVA
power_factor | DOUBLE | Raw pass-through from ts. | dimensionless [0,1]
current_a | DOUBLE | Raw pass-through from ts. | A
energy_import_kwh | DOUBLE | Raw energy_import. The real measured accumulator register (not derived by clipping instantaneous power at zero). | kWh
energy_export_kwh | DOUBLE | Raw energy_export. The real measured accumulator register. | kWh

## ami_raw
ami_raw: site-level ground truth (one row per site_id, t_stamp)
Column | Type | Derivation | Unit
site_id | BIGINT | Site key.
t_stamp | TIMESTAMP | As landed, UTC. | UTC
year | INT | t_stamp's UTC year. | UTC
month | INT | t_stamp's UTC month. | UTC
V_load | DOUBLE | Average voltage across the site's kept ac_load_net circuits. | V
V_pv | DOUBLE | Average voltage across the site's kept pv_site_net circuits. A genuinely different measurement point from V_load (PV/inverter-side voltage rise vs. load-side). | V
P_load_kw | DOUBLE | Signed, circuit_polarity-corrected ac_load_net power, summed across load phases. Note: ac_load_net is already net-of-solar as landed, so this is closer to grid import/export at the load meter than to gross house consumption. | kW
P_pv_kw | DOUBLE | Signed, circuit_polarity-corrected pv_site_net power, summed across PV circuits. Positive while generating (fixed sign convention; an earlier build had this negative during generation). | kW
P_kw_norm | DOUBLE | (P_pv_kw / normalization_capacity): PV output as a fraction of site capacity. | fraction
P_kw | DOUBLE | (P_load_kw + P_pv_kw): Gross house consumption, PV-independent ("what the house would have consumed without solar"). Derived, not independently measured. | kW
Q_load_kvar | DOUBLE | Signed, corrected ac_load_net reactive power, summed. | kvar
Q_pv_kvar | DOUBLE | Signed, corrected pv_site_net reactive power, summed. | kvar
Q_kvar_norm | DOUBLE | (Q_pv_kvar / normalization_capacity). | fraction
Q_kvar | DOUBLE | (Q_load_kvar + Q_pv_kvar): Gross reactive load, derived. Reactive-power columns are reasonable-by-construction but not independently validated against real plots the way active power was. | kvar
S_99, ac_capacity_kw | DOUBLE | Site capacity figures carried through from a meta_up23c-based lookup, for audit. | kVA, kW
normalization_basis | STRING | Which of S_99 / ac_capacity_kw was actually used for the _norm columns.
dt_month | STRING | year-month partition key (Parquet is written partitioned by this).

## ami_raw_phaseseparate
ami_raw_phaseseparate: Per-circuit ground truth, load and PV alike (one row per site_id, device_id, circuit_id, t_stamp)
Column | Type | Derivation | Unit
site_id | BIGINT | Keys. device_id groups the phases belonging to one physical meter. Grain is one row per (site_id, device_id, circuit_id, t_stamp) -- EVERY kept circuit gets a row, load AND PV alike (this is a circuit-preserving table, not load-only).
device_id | BIGINT
circuit_id | BIGINT
circuit_type | STRING | ac_load_net or pv_site_net -- tells you which physical thing this row's readings belong to.
t_stamp | TIMESTAMP | UTC.
year | INT | t_stamp's UTC year. | UTC
month | INT | t_stamp's UTC month. | UTC
V | DOUBLE | This circuit's own raw voltage. No polarity correction -- voltage has no sign-convention ambiguity. | V
P_kw_signed | DOUBLE | This circuit's own power, polarity-corrected via circuit_polarity. Meaning depends on circuit_type: on a load row, this is ac_load_net's own reading -- already net-of-solar as landed (see ami_raw), NOT a PV-independent gross load figure. On a PV row, this is that PV circuit's own undivided generation reading. NOT the same as ami_meter. P_kw, which is the raw, uncorrected sensor reading. | kW
Q_kvar_signed | DOUBLE | Same pattern as P_kw_signed, reactive power. Reasonable-by-construction but not independently validated against real plots the way active power was. | kvar
n_phases_at_site | INT | Number of kept ac_load_net circuits at the site this month -- a per-site topology tag, copied onto every row (load or PV) for that site.
pv_allocation_method | STRING | direct_matched_circuit (kept PV circuit count == kept load circuit count -- a real count match, but not a verified circuit-to-phase label) / equal_split_across_load_phases (counts don't match) / no_pv_present (no surviving PV circuit -- no PV rows for that site). A per-site descriptive tag only -- carries no allocated Watts. This table does NOT split PV across load phases or compute a per-phase gross load for you; do that explicitly from these raw rows if you need it.