## ami_raw
ami_raw: site-level ground truth (one row per site_id, t_stamp)
Column | Type | Derivation | Unit
site_id | BIGINT | Site key.
t_stamp | TIMESTAMP | As landed, UTC. | UTC
year, month | INT | t_stamp's UTC year / month. | UTC
V_load | DOUBLE | Average voltage across the site's kept ac_load_net circuits. | V
V_pv | DOUBLE | Average voltage across the site's kept pv_site_net circuits. A genuinely different measurement point from V_load (PV/inverter-side voltage rise vs. load-side). | V
P_load_kw | DOUBLE | Signed, circuit_polarity-corrected ac_load_net power, summed across load phases. Note: ac_load_net is already net-of-solar as landed, so this is closer to grid import/export at the load meter than to gross house consumption. | kW
P_pv_kw | DOUBLE | Signed, circuit_polarity-corrected pv_site_net power, summed across PV circuits. Positive while generating (fixed sign convention; an earlier build had this negative during generation). | kW
P_kw_norm | DOUBLE | (P_pv_kw / normalization_capacit: PV output as a fraction of site capacity. | fraction
P_kw | DOUBLE | (P_load_kw + P_pv_kw): Gross house consumption, PV-independent ("what the house would have consumed without solar"). Derived, not independently measured. | kW
Q_load_kvar | DOUBLE | Signed, corrected ac_load_net reactive power, summed. | kvar
Q_pv_kvar | DOUBLE | Signed, corrected pv_site_net reactive power, summed. | kvar
Q_kvar_norm | DOUBLE | (Q_pv_kvar / normalization_capacity) | fraction
Q_kvar | DOUBLE | (Q_load_kvar + Q_pv_kvar): Gross reactive load, derived. Reactive-power columns are reasonable-by-construction but not independently validated against real plots the way active power was. | kvar
S_99, ac_capacity_kw | DOUBLE | Site capacity figures carried through from a meta_up23c-based lookup, for audit. | kVA, kW
normalization_basis | STRING | Which of S_99 / ac_capacity_kw was actually used for the _norm columns.
dt_month | STRING | year-month partition key (Parquet is written partitioned by this).

## ami_meter
ami_meter: synthetic smart meter (one row per site_id, device_id, circuit_id, t_stamp)
Column | Type | Derivation | Unit
site_id | BIGINT | Site key
device_id | BIGINT | Device key. Device_id groups the phases belonging to one physical meter.
circuit_id | BIGINT | Circuit key. Grain is one row per (site_id, device_id, circuit_id, t_stamp) every kept ac_load_net circuit, per phase. PV circuits are deliberately excluded: this table simulates what a real smart meter reports.
t_stamp, year, month | TIMESTAMP / INT | UTC.
V | DOUBLE | Raw per-circuit voltage. | V
P_kw | DOUBLE | Raw power: Deliberately NOT polarity-corrected. ac_load_net is already net-of-solar as landed, and this table is meant to show what a real meter would report, sign quirks included. | kW
Q_kvar | DOUBLE | Raw reactive power. No raw instantaneous field exists in ts for this. It is always derived once, in the interval table, from energy_reactive. | kvar
S_kva | DOUBLE | SQRT(P_kw² + Q_kvar²). | kVA
power_factor | DOUBLE | Raw pass-through from ts. | dimensionless [0,1]
current_a | DOUBLE | Raw pass-through from ts. | A
energy_import_kwh | DOUBLE | Raw energy_import. The real measured accumulator register (not derived by clipping instantaneous power at zero). | kWh
energy_export_kwh | DOUBLE | Raw energy_export. The real measured accumulator register. | kWh